## Confined Space Inventory
UCCS Confined Space Inventory
Criteria for Confined Spaces: Large enough to bodily enter, not meant for continuous human occupancy and limited/restricted means for entry and exit. Critera for Permit-Required Confined Spaces: Atmospheric hazard, engulfment hazard, entrapment hazard, or any other serious safety or health hazard. TBE is to be evaluated
Last Updated/Reviewed: January 2019
Building Number | Building Acronym | Building Name | Confined Space | Location of Space | Permit Required CS? | Associated Hazards | Notes
20 | AOB | Academic Office Building | Air Handling Units | 1st floor Mechanical Room | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly, but are permitted when welding/painting inside
20 | AOB | Academic Office Building | Elevator Pit | Middle of the building | No | Mechanical, Fall, Crushing/falling objects, and potential atmospheric hazards
All | All | All | Manhole | All locations | Yes | Atmospheric and fall hazards
All | All | All | Utility Vault | All locations | Yes | Atmospheric and fall hazards
All | All | All | Stormwater Basin | All locations | No | None | Unless actively filling
All | All | All | Air Ducts | All locations | No | None
110 | AGF | Alpine Garage and Field | Trench/Crawl Space | 4th floor around the outside of the garage | No
110 | AGF | Alpine Garage and Field | Elevator Pit | South Side of Garage | No | Mechanical, Fall, Crushing/falling objects, and potential atmospheric hazards (CO)
130 | ANT | Antero House | Elevator Pit | Middle of the building | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
27 | ASPN | Aspen | Make-up Air Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
27 | ASPN | Aspen | Crawl Space | Underneath the building | No | None | Unless leak
25 | BREC | Breckenridge | Make-up Air Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
25 | BREC | Breckenridge | Crawl Space | Underneath the building | Yes | Atmospheric hazards, insect and animal exposures, minimal communication methods | Needs Sign
05 | CSB | Campus Services Building | Elevator Pit | North end of building | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
| CSB | Campus Services Building | Backflow Vault | Outside CSB to the North | Yes |  | Needs sign but its wood?
| CSB | Campus Services Building | Utility Tunnel | Outside of CSB to the North | Yes |  | manhole entrances
10 | CENT | Centennial | Elevator Pit | 1st floor north side | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
10 | CENT | Centennial | Air Handling Unit | 1S-7 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
10 | CENT | Centennial | Air Handling Unit 5 | 2nd floor outside | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
10 | CENT | Centennial | A/C Chiller(s) | 2nd floor outside | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
10 | CENT | Centennial | Crawl Space | Back of classroom 186 | No
10 | CENT | Centennial | Air Handling Unit(s) | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
10 | CENT | Centennial | Air Exhaust Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
10 | CENT | Centennial | A/C Chiller | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
15 | COLU | Columbine | Air Handling Unit #1 | North Side Roof Over Classrooms | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
15 | COLU | Columbine | Air Handling Unit #2 | West Side Roof Over Classrooms | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
15 | COLU | Columbine | Water Meter Pits | Spine | Yes | Atmospheric
15 | COLU | Columbine | Elevator Pit | Middle of the building | No | Mechanical and Crushing/falling objects
30 | COPR | Copper | Elevator Pit | Entrance | No | Mechanical and Crushing/falling objects
30 | COPR | Copper | Energy Recovery Ventilation |  | TBE
30 | COPR | Copper | Crawl Space | Basement | No
30 | COPR | Copper | Air Handling Unit |  | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
07 | CRAG | Cragmor | Crawl Space | 0S-6 | No
07 | CRAG | Cragmor | Elevator pit | Ground floor - middle of building | No | Mechanical and Crushing/falling objects
07 | CRAG | Cragmor | Air handling unit | Penthouse | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
07 | CRAG | Cragmor | Air Handling Unit | Penthouse | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
140 | CRES | Crestone | Crawl Space | SE Side | No
140 | CRES | Crestone | Crawl Space | SW side | No
140 | CRES | Crestone | Elevator Pit | Middle of the building | No | Mechanical and Crushing/falling objects | Not Permit Required if locked out properly
145 | CUCH | Cucharas | Elevator Pit | 1st floor middle by entrance | No | Mechanical and Crushing/falling objects | Not Permit Required if locked out properly
145 | CUCH | Cucharas | Air Handling Unit | 1st floor SW corner | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
3650 | NCC | Cybersecurity | Air Handling Unit | South Penthouse | Yes | Mechanical, Fall hazards | Fall protection required in one door
3650 | NCC | Cybersecurity | Air Handling Unit | South Penthouse | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
3650 | NCC | Cybersecurity | Water Meter Pits | North and South Side | Yes | Pipes under pressure
3650 | NCC | Cybersecurity | A/C Chillers (x7) | North Roof | No | Mechanical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
09 | DWIR | Dwire Hall | Elevator Pit | 1st floor east side | No | Mechanical and Crushing/falling objects
09 | DWIR | Dwire Hall | A/C Chiller | 2nd floor outside | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
09 | DWIR | Dwire Hall | Air Handlers 2&3 | Penthouse | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
09 | DWIR | Dwire Hall | Air Handling Unit | 2S-2 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
29 | ELDO | El Dora | Elevator Pit | North Vestibule | No | Mechanical and Crushing/falling objects
29 | ELDO | El Dora | Energy Recovery Ventilation | Roof | No | Mechanical | Not Permit Required if locked out properly
12B | EPC | El Pomar | Air Handling Unit(s) | 4th Floor | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
12B | EPC | El Pomar | Fresh air intakes | 4th floor | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
12B | EPC | El Pomar | Elevator Pit | SE Side | No | Mechanical and Crushing/falling objects | Not Permit Required if locked out properly
12B | EPC | El Pomar | Elevator Pit | NW Side | No | Mechanical and Crushing/falling objects | Not Permit Required if locked out properly
| EPC | El Pomar | Cooling Tower | Roof? | No |  | Open
12B | EPC | El Pomar | Air Handling Unit | Roof | No | Mechanical and Electrical | Not Permit Required if locked out properly
14 | ENGR | Engineering and Applied Sciences | Crawl Space | Entire building (3 entrances) | Yes | entrapment and potential atmospheric hazard | Needs Sign
14 | ENGR | Engineering and Applied Sciences | Elevator Pit | Middle of the building | No | Mechanical and Crushing/falling objects
14 | ENGR | Engineering and Applied Sciences | Air Handling Unit | Penthouse - doors 2&3 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
14 | ENGR | Engineering and Applied Sciences | Air Handling Unit | Penthouse - doors 4&5 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
14 | ENGR | Engineering and Applied Sciences | Air Handling Unit | Penthouse - doors 7&8 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
14 | ENGR | Engineering and Applied Sciences | Air Handling Unit | Penthouse - doors 10&11 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
14 | ENGR | Engineering and Applied Sciences | Air Handling Unit | Penthouse - doors 14&15 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
14 | ENGR | Engineering and Applied Sciences | Cooling Tower | Penthouse - Door 9 | No |  | Cannot get inside
14 | ENGR | Engineering and Applied Sciences | Cooling Tower | Penthouse - Door 13 | No |  | Cannot get inside
14 | ENGR | Engineering and Applied Sciences | Air handling unit | 265 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
300 | ENT | Ent Center for the Arts | Elevator Pit (service) | Middle of the building - back of the house | No | Mechanical and Crushing/falling objects
300 | ENT | Ent Center for the Arts | Elevator Pit | Southwest Corner | No | Mechanical and Crushing/falling objects
300 | ENT | Ent Center for the Arts | Elevator Pit | Middle of the building - front of the house | No | Mechanical and Crushing/falling objects
300 | ENT | Ent Center for the Arts | Air Handling Unit(s) | Penthouse | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
300 | ENT | Ent Center for the Arts | Air Handling Units | 1-S5 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
300 | ENT | Ent Center for the Arts | A/C Chillers | Outside North end | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
13 | FDC | Family Development Center | Crawl Space | Middle of the building | TBE |  | Depends on the work done in the space
13 | FDC | Family Development Center | Ceiling Access to HVAC | Everywhere | No
11C | GEC | Gallogly Events Center | Outside Tunnel | Access from Storage room 102 | No | N/A
11C | GEC | Gallogly Events Center | Elevator Pit | South Entrance | No | Mechanical and Crushing/falling objects
11C | GEC | Gallogly Events Center | Air Handling Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
105 | GRWC | Gallogly Wellness and Recreation Center | Pool Filter | North Side in Pump Room | Yes | Atmospheric hazards, very restricted opening | Needs Sign
105 | GRWC | Gallogly Wellness and Recreation Center | Elevator Pit | South West side | No | Mechanical and Crushing/falling objects
105 | GRWC | Gallogly Wellness and Recreation Center | A/C Chiller(s) | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
105 | GRWC | Gallogly Wellness and Recreation Center | Air Handling Unit | West Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
105 | GRWC | Gallogly Wellness and Recreation Center | Backwash Pit | 1S-8 | No | Potential Hazardous Atmosphere, hydraulic energy (open piping) | Depends on the work done in the space
105 | GRWC | Gallogly Wellness and Recreation Center | Pool Slide | 105 | No | Fall | Unless the pool is empty, then there is a fall hazard.
105 | GRWC | Gallogly Wellness and Recreation Center | Pump Pit | 1S-8 | No | None
105 | GRWC | Gallogly Wellness and Recreation Center | Ceiling Access | All locations | No
34 | GTWG | Gateway Garage | Elevator Pit | Southwest Corner | No | Mechanical and Crushing/falling objects
23 | KEY | Keystone | Make-up Air Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
23 | KEY | Keystone | Air Handling Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
23 | KEY | Keystone | Crawl Space | Underneath the building - entrance by fire panel | Yes | Atmospheric hazards, insect and animal exposures, minimal communication methods | Needs Sign
150 | LAPL | La Plata | Elevator Pit | Entrance | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
250 | LANE | Lane Center | Elevator pit | West Side | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
28 | LODG | Lodge | Air Handling Unit | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
28 | LODG | Lodge | Crawl Space | One entrance in each custodial closet | Yes | Atmospheric hazards, insect and animal exposures, minimal communication methods | Needs Sign (x2)
28 | LODG | Lodge | Elevator Pit | East side in Kitchen | TBE | Mechanical, Fall, Crushing/falling objects, and potential atmospheric hazards
28 | LODG | Lodge | Elevator Pit | Stairwell | No | Mechanical and Crushing/falling objects
28 | LODG | Lodge | Elevator Pit | South side near entry | No | Mechanical and Crushing/falling objects
08 | MAIN | Main Hall | Elevator Pit(s) | 1st floor | No | Mechanical and Crushing/falling objects
08 | MAIN | Main Hall | Air Handling Unit #1 | Roof - West Side | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
08 | MAIN | Main Hall | Air Handling Unit #2 | Roof - East Side | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
08 | MAIN | Main Hall | Window Pit | Outside by West wall | No
08 | MAIN | Main Hall | RTU - 1 | 4th floor roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
21 | MON | Monarch | Elevator Pit | Middle of the building - South side | No | Mechanical and Crushing/falling objects
21 | MON | Monarch | Make-up Air Unit | Roof | No
21 | MON | Monarch | Water Meter Pits | North side by bluffs | Yes | Atomspheric Hazards
32 | OCSE | Osborne | Heat Recovery Unit | Roof | TBE
32 | OCSE | Osborne | A/C Chiller(s) | Roof | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly - if enough panels are removed not CS
32 | OCSE | Osborne | Elevator Pit(s) | Middle of the building | No | Mechanical and Crushing/falling objects
32 | OCSE | Osborne | Air Handling Units 3-6 | 2-S1 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
32 | OCSE | Osborne | Air Handling Units 1 and 2 | 2-S4 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
32 | OCSE | Osborne | Air Handling Unit 9 | 1-S15 | No | Mechanical and Electrical | Not Permit Required if Locked Out Properly
32 | OCSE | Osborne | Pump Pit | 1-S6, chemical storage | Yes | Fall and potential atmospheric hazards | Needs Sign
160 | RFDH | Roaring Forks Dining Hall | Elevator pit | South Entry | No | Mechanical and Crushing/falling objects
160 | RFDH | Roaring Forks Dining Hall | Elevator pit | Behind Kitchens | TBE | Mechanical, Fall, Crushing/falling objects, and potential atmospheric hazards
| ROTC | ROTC | Water Meter Pits | Northwest End | Yes | Atmospheric Hazards
155 | SANJ | San Juan Housing | Elevator pit(s) | Middle of the building | No | Mechanical and Crushing/falling objects
135 | SHAV | Shavano | Elevator pit | Middle of the building | No | Mechanical and Crushing/falling objects
26 | STM | Steamboat | Make-up Air Unit | Roof | No | Mechanical and Electrical
26 | STM | Steamboat | Crawl Space | Basement | No | None | Unless leak
24 | TELL | Telluride | Make-up Air Unit | Roof | No | Mechanical and Electrical
24 | TELL | Telluride | Crawl Space | Basement | No | None | Unless leak
12A | UCTR | University Center | Crawl Space | 131B and North stairwell | TBE | Atmospheric hazard
12A | UCTR | University Center | Elevator Pit (Freight) | Northwest End | No | Mechanical, Fall, Crushing/falling objects, and potential atmospheric hazards | Not Permit Required if Locked Out Properly
12A | UCTR | University Center | Elevator Pit | Middle of the building | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
12A | UCTR | University Center | Elevator Pit | South End | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
70 | UHAL | University Hall | Elevator pit | 3rd floor- Northeast side | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
70 | UHAL | University Hall | Elevator pit | 2rd floor - Southwest side | No | Mechanical and Crushing/falling objects | Not Permit Required if Locked Out Properly
22 | VAIL | Vail | Make-up Air Unit | Roof | No | Mechanical and Electrical
22 | VAIL | Vail | Crawl Space | Basement | No | None | Unless leak
| SHAV | Shavano | Crawl Space |  | TBE
| OCSE | Osborne | Wall access for HVAC ventilation | 2nd floor and 3rd floor | No
| GRWC | Gallogly Wellness and Recreation Center | Crawl Space | 1S-1 | TBE |  | Unclear if this actually exists - don’t know where entrance is